CLYDACH COMMUNITY COUNCIL

Cyngor Cymuned Clydach

CLYDACH COMMUNITY HALL

GENERAL RISK ASSESSMENT

| Reference | RA-VCH-001 |
| --- | --- |
| Assessor | Ian James |
| Date | 11 May 2026 |
| Next Review | 11 May 2027 |
| Version | 1.0 |
| Status | Active |

# DOCUMENT CONTROL

| Document Title | Clydach Community Hall – General Risk Assessment |
| --- | --- |
| Reference Number | RA-VCH-001 |
| Premises | Clydach Community Hall, Clydach |
| Assessment Type | General Premises Risk Assessment |
| Assessor | Ian James |
| Date Prepared | 11 May 2026 |
| Review Date | 11 May 2027, or sooner following any significant change |
| Version | 1.0 |
| Approved By | Full Council |

# BUILDING OVERVIEW

Clydach Community Hall is a community facility operated by Clydach Community Council and used by a range of community groups, hirers, organisations and members of the public.

The premises include:

- Main hall and community use areas

- Kitchen facilities

- Toilets and welfare facilities

- Storage areas

- External car parking areas

- External lighting

- Electric vehicle charging point

The building is used by:

- Employees and Councillors

- Volunteers

- Contractors

- Hirers and their guests

- Visitors and members of the public

- Community groups

- Children and vulnerable persons during organised activities

The Council operates the following compliance and management arrangements:

- Fire risk management and fire alarm servicing

- Emergency lighting inspections

- Electrical inspection and testing (NICEIC) and PAT testing

- Gas safety inspections

- Contractor management arrangements

- Routine premises inspections

- Accident and incident reporting

- Waste management controls

- Kitchen safety controls

- Car park and external area inspections

# PURPOSE

This risk assessment identifies the significant hazards associated with the operation and use of Clydach Community Hall and establishes the control measures required to reduce risks to the lowest reasonably practicable level.

This assessment forms part of the Council's governance, health and safety and premises management arrangements.

# REVIEW REQUIREMENTS

This assessment shall be reviewed:

- Annually as a minimum

- Following any accident, incident or near miss

- Following significant changes to the premises or activities

- Following structural alterations or refurbishment works

- Following changes in legislation or guidance

- Where monitoring identifies that controls are no longer effective

# RISK RATING MATRIX

Risk Rating = Likelihood × Severity.  Colour coding:  Green = Low (1–5)  |  Amber = Medium (6–12)  |  Red = High (15–25)

| L \ S | 1 Negligible | 2 Minor | 3 Moderate | 4 Major | 5 Catastrophic |
| --- | --- | --- | --- | --- | --- |
| 1 Very Unlikely | 1 Low | 2 Low | 3 Low | 4 Low | 5 Low |
| 2 Unlikely | 2 Low | 4 Low | 6 Medium | 8 Medium | 10 Medium |
| 3 Possible | 3 Low | 6 Medium | 9 Medium | 12 Medium | 15 High |
| 4 Likely | 4 Low | 8 Medium | 12 Medium | 16 High | 20 High |
| 5 Very Likely | 5 Low | 10 Medium | 15 High | 20 High | 25 High |

| Score | Level | Action |
| --- | --- | --- |
| 1–5 | Low | May be acceptable; continue to monitor and review. |
| 6–12 | Medium | Controls should be reviewed; further action should be considered. |
| 15–25 | High | Immediate action required. Task should not proceed unless risk can be reduced. |

# RISK ASSESSMENT

| Ref | Hazard | Persons at Risk | Potential Harm | Initial L | Initial S | Initial Risk | Existing Controls | Further Actions Required | Residual L | Residual S | Residual Risk | Responsible Person | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VCH-001 | Slips, Trips and Falls | Employees, volunteers, hirers, visitors, contractors, members of the public | Slips, trips and falls causing sprains, fractures or other injury | 3 | 3 | 9 Medium | - Good lighting provided throughout all premises areas. - Walkways and corridors kept clear at all times. - Entrance mats used during wet weather. - Spillages cleaned immediately; wet floor signage deployed. - No trailing cables or obstructions in circulation routes. - Routine documented premises inspections undertaken. | Continue routine inspections and monitoring arrangements. | 2 | 2 | 4 Low | Clerk / Responsible Person | Monitoring |
| VCH-002 | Fire | Employees, volunteers, hirers, visitors, contractors, members of the public | Burns, smoke inhalation, serious injury or fatality | 4 | 5 | 20 High | - Fire risk assessment completed and reviewed regularly. - Fire alarm system maintained and tested weekly. - Emergency lighting inspected and serviced. - Escape routes maintained clear and checked regularly. - Fire extinguishers inspected and serviced annually. - Fire safety signage displayed throughout premises. - Hirers informed of emergency arrangements via hire agreement. - Fire drills conducted and recorded. | Continue fire testing, inspections and evacuation drills. Maintain fire risk assessment. | 2 | 5 | 10 Medium | Clerk / Fire Responsible Person | Monitoring |
| VCH-003 | Asbestos Containing Materials | Employees, contractors, visitors | Exposure to asbestos fibres resulting in long-term serious illness | 3 | 5 | 15 High | - Asbestos survey completed; register maintained and available to contractors. - Areas containing asbestos clearly identified and monitored. - Disturbance of asbestos materials prohibited without appropriate licensed controls. - All contractors required to review asbestos information prior to commencing work. | Continue asbestos management and monitoring arrangements. Review register periodically. | 1 | 5 | 5 Low | Clerk / Responsible Person | Monitoring |
| VCH-004 | Manual Handling | Employees, volunteers, hirers | Musculoskeletal injuries, strains or sprains from lifting or moving equipment | 3 | 3 | 9 Medium | - Trolleys available for moving heavy items; users informed of location. - Staff and volunteers instructed on correct lifting techniques. - Heavy items stored at appropriate heights. - Assistance used for awkward or heavy loads. | Continue periodic review of storage and manual handling arrangements. | 2 | 2 | 4 Low | Clerk / Responsible Person | Monitoring |
| VCH-005 | Stored Equipment | Employees, volunteers, hirers, visitors | Injury from falling or unstable stacked equipment | 3 | 3 | 9 Medium | - Chairs stacked no more than 8 high; tables stacked no more than 6 high. - Safe stacking limits signposted in storage areas. - Users informed of safe storage requirements via hire agreement. - Storage areas maintained in orderly condition; access routes kept clear. | Continue monitoring storage arrangements. | 2 | 2 | 4 Low | Clerk / Responsible Person | Monitoring |
| VCH-006 | Hazardous Substances (COSHH) | Employees, cleaners, contractors, visitors | Chemical exposure, skin irritation or respiratory irritation | 3 | 3 | 9 Medium | - Cleaning products stored securely in designated area. - COSHH register maintained with current safety data sheets. - PPE (gloves, aprons) provided and used. - Staff instructed on safe use, dilution and storage of cleaning products. - Irritant products replaced with milder alternatives where possible. | Continue COSHH review and monitoring. Ensure data sheets are current. | 2 | 2 | 4 Low | Clerk / Responsible Person | Monitoring |
| VCH-007 | Electricity | Employees, volunteers, hirers, visitors, contractors, members of the public | Electric shock, burns or fire from faulty equipment or installations | 4 | 5 | 20 High | - Fixed electrical installation inspected by NICEIC every 5 years. - PAT testing programme implemented; records maintained. - Portable equipment visually checked before use. - RCD protection provided where appropriate. - Defective equipment removed from service immediately. - Staff aware of fuse box location and emergency isolation procedure. | Maintain electrical inspection and testing programme. Keep PAT records up to date. | 2 | 5 | 10 Medium | Clerk / Responsible Person | Monitoring |
| VCH-008 | Welfare and Toilet Facilities | Employees, visitors, hirers, members of the public | Poor hygiene standards, slips or welfare concerns | 3 | 3 | 9 Medium | - Toilet and welfare facilities cleaned routinely to schedule. - Consumables (soap, tissue) replenished regularly. - Defects reported and addressed promptly. - Accessible facilities available and maintained. | Continue cleaning and inspection arrangements. | 2 | 2 | 4 Low | Clerk / Responsible Person | Monitoring |
| VCH-009 | Working at Height | Employees, volunteers, contractors | Falls from height causing serious injury or fatality | 4 | 5 | 20 High | - Work at height avoided where possible; hierarchy of control applied. - EN 131 Professional Standard ladders and stepladders used when necessary. - Access equipment inspected regularly and records maintained. - Only authorised persons permitted to undertake work at height. - Contractors engaged for specialist work at height tasks. - Safe Use of Ladders guidance displayed adjacent to ladder storage. | Continue inspection and monitoring of access equipment. | 2 | 5 | 10 Medium | Clerk / Responsible Person | Monitoring |
| VCH-010 | Violence and Aggression | Employees, volunteers, councillors, hirers | Verbal abuse, threats or physical assault | 3 | 4 | 12 Medium | - Emergency contact details available to all staff and volunteers. - Incidents reported, recorded and investigated. - Staff trained to avoid confrontation; non-confrontational approach maintained. - Access controls in place; entry monitored as required. - Contact details retained for all hirers and organisations. | Continue monitoring incidents and reviewing security arrangements. | 2 | 3 | 6 Medium | Clerk / Responsible Person | Monitoring |
| VCH-011 | First Aid Provision | Employees, volunteers, visitors, contractors | Delayed treatment of injury or illness | 3 | 4 | 12 Medium | - First aid kits provided, stocked and checked regularly. - First aid needs assessment completed. - Trained first aiders or appointed persons identified. - Emergency service contact arrangements available throughout premises. | Continue periodic checks of first aid arrangements. | 2 | 3 | 6 Medium | Clerk / Responsible Person | Monitoring |
| VCH-012 | Waste Management | Employees, volunteers, contractors, visitors | Injury, infection, slips or vermin associated with poor waste management | 3 | 3 | 9 Medium | - Waste disposal arrangements in place with local authority. - Suitable bins and storage areas provided. - Hazardous waste disposed of appropriately. - Sharps disposal procedures in place where required. - Site cleared after all events. | Continue monitoring waste arrangements and housekeeping standards. | 2 | 2 | 4 Low | Clerk / Responsible Person | Monitoring |
| VCH-013 | Kitchen Operations – Slips, Trips and Housekeeping | Kitchen users, volunteers, hirers | Slips, trips and minor injuries within kitchen areas | 3 | 3 | 9 Medium | - Access restricted to authorised users only. - Good housekeeping standards maintained at all times. - Spillages cleaned promptly; wet floor signage used. - Suitable cleaning materials and PPE available. | Continue kitchen inspections and monitoring. | 2 | 2 | 4 Low | Clerk / Responsible Person | Monitoring |
| VCH-014 | Kitchen Fire and Hot Surfaces | Kitchen users, volunteers, hirers | Burns, scalds, smoke inhalation or fire-related injury | 4 | 5 | 20 High | - Fire safety arrangements in place; kitchen firefighting equipment maintained. - Hot surfaces and equipment clearly identified. - Heat-resistant PPE available and used where required. - Kitchen equipment maintained and inspected regularly. - No unsupervised use of kitchen facilities. | Continue fire inspections and user awareness arrangements. | 2 | 5 | 10 Medium | Clerk / Responsible Person | Monitoring |
| VCH-015 | Kitchen Electrical and Gas Appliances | Kitchen users, volunteers, hirers | Electric shock, burns, gas escape or explosion | 4 | 5 | 20 High | - Kitchen appliances maintained and PAT tested. - Gas systems serviced annually by Gas Safe registered contractors. - Gas isolation points identified and communicated to users. - Defective equipment removed from service immediately. - Emergency gas shut-off procedure established and communicated. | Continue inspection and servicing programme. | 2 | 5 | 10 Medium | Clerk / Responsible Person | Monitoring |
| VCH-016 | Food Preparation and Hygiene | Kitchen users, hirers, visitors | Food poisoning or contamination | 3 | 4 | 12 Medium | - Food hygiene standards and procedures implemented. - Refrigeration temperatures monitored and recorded. - Cross-contamination controls applied. - Cleaning and disinfection arrangements maintained. - Users required to hold appropriate food hygiene training where relevant. | Continue hygiene monitoring and user awareness arrangements. | 2 | 2 | 4 Low | Clerk / Responsible Person | Monitoring |
| VCH-017 | External Lighting | Employees, volunteers, hirers, visitors, contractors, members of the public | Trips, falls, reduced visibility and security concerns | 3 | 3 | 9 Medium | - External lighting provided throughout all access routes and car park areas. - Defects reported and repaired promptly. - Lighting inspected as part of routine premises inspection. | Continue inspection and maintenance programme. | 2 | 2 | 4 Low | Clerk / Responsible Person | Monitoring |
| VCH-018 | Vehicle Movements and Car Park | Employees, volunteers, hirers, visitors, contractors, members of the public | Collision with moving vehicles causing serious injury or fatality | 4 | 4 | 16 High | - Pedestrian routes identified and separated from vehicle access where possible. - Speed limit signage displayed in car park. - Car park lighting provided. - Surface defects monitored and repaired. - Traffic management arrangements implemented during events where required. | Continue inspections and monitor vehicle management arrangements. | 2 | 4 | 8 Medium | Clerk / Responsible Person | Monitoring |
| VCH-019 | Hazardous Debris and External Hazards | Employees, volunteers, visitors, members of the public | Cuts, sharps injuries, infection or contamination | 3 | 4 | 12 Medium | - External areas inspected regularly. - Litter picking equipment available. - Sharps disposal containers available where required. - Hazardous debris removed promptly and disposed of appropriately. | Continue monitoring and inspection regime. | 2 | 3 | 6 Medium | Clerk / Responsible Person | Monitoring |
| VCH-020 | Emergency Vehicle Access | Employees, visitors, contractors, emergency services | Delayed emergency response or collision risk | 3 | 4 | 12 Medium | - Emergency access routes identified and maintained clear at all times. - Traffic management arrangements used during events. - Marshals utilised for large events where required. | Continue monitoring and event management controls. | 2 | 3 | 6 Medium | Clerk / Responsible Person | Monitoring |
| VCH-021 | Electric Vehicle Charging Point | Employees, volunteers, hirers, visitors, contractors, members of the public | Electric shock, burns or fire associated with EV charging equipment | 3 | 5 | 15 High | - Charging point installed and maintained by competent contractors with appropriate protection. - Fire detection and firefighting equipment available in vicinity. - Emergency procedures established and communicated to users. - Users instructed on safe use of charging equipment. - Regular inspections and servicing carried out. | Continue inspection, servicing and monitoring arrangements. | 2 | 4 | 8 Medium | Clerk / Responsible Person | Monitoring |
| VCH-022 | Stress and Wellbeing | Employees, volunteers | Stress-related illness, anxiety or poor mental health | 3 | 3 | 9 Medium | - Staff understand duties and responsibilities; annual appraisal system in place. - Staff encouraged to raise concerns with supervisors or management. - No-bullying policy in place. - Workloads monitored to ensure they remain reasonable. | Continue monitoring and reviewing staff wellbeing arrangements. | 2 | 2 | 4 Low | Clerk / Responsible Person | Monitoring |

# ACTION TRACKING NOTES

| Status | Meaning |
| --- | --- |
| Open | Action identified but not completed |
| Ongoing | Requires continual monitoring |
| Closed | Action completed |
| Monitoring | Existing controls considered adequate subject to review |

# APPROVAL

| Name | Position | Signature | Date |
| --- | --- | --- | --- |
|  | Chairperson |  |  |
|  | Clerk / Responsible Officer |  | 11 May 2026 |

# RELATED DOCUMENTS

- Health & Safety Policy

- Governance, Compliance & Safety Management Manual (GCC-GCSM-001)

- Fire Risk Assessment

- Electrical Inspection Records

- Gas Safety Records

- Contractor Management Procedure

- Premises Inspection Records

- Accident / Incident Records

- Compliance Action Tracker